Support Packages for TIA Portal V11

STEP 7 V11, WinCC V11, STEP 7 Safety V11

HSP Download September 2015

https://support.industry.siemens.com/cs/ww/en/view/72341852

 Siemens AG 2015 All rights reserved

This entry is from the Siemens Industry Online Support. The general terms of use (http://www.siemens.com/terms_of_use) apply.

Siemens provides products and solutions with industrial security functions that support the secure operation of plants, solutions, machines, equipment and/or networks. They are important components in a holistic industrial security concept. With this in mind, Siemens’ products and solutions undergo continuous development. Siemens recommends strongly that you regularly check for product updates.

For the secure operation of Siemens products and solutions, it is necessary to take suitable preventive action (e.g. cell protection concept) and integrate each component into a holistic, state-of-the-art industrial security concept. Third-party products that may be in use should also be considered. For more information about industrial security, visit http://www.siemens.com/industrialsecurity.

To stay informed about product updates as they occur, sign up for a product- specific newsletter. For more information, visit http://support.industry.siemens.com.

Security informa- tion

 Siemens AG 2015 All rights reserved

Table of contents

- Support Packages for STEP 7	4

  - Support Packages for STEP 7 Basic or Professional V11 SP1	4

    - HSP 0003	4

    - HSP 0004	4

    - HSP 0017	5

  - Support Packages for STEP 7 Basic or Professional V11 SP2	6

    - HSP 0015	6

    - HSP 0021	6

    - HSP 0022	7

    - HSP 0024	7

    - HSP 0026	8

    - HSP 0028	8

    - HSP 0029	8

    - HSP 0033	9

  - Support Packages for STEP 7 Professional V11	10

    - HSP 0009	10

    - HSP 0011	10

  - Support Packages for STEP 7 Professional V11 SP2	10

    - HSP 0025	10

- Support Packages for WinCC	11

  - Support Packages for WinCC Basic/Comfort/Advanced/Professional V11 SP2	11

    - HSP 0001 – New overtaken from entry ID 60497002	11

    - HSP 0002 – New overtaken from entry ID 60497002	11

- Support Packages for STEP 7 Safety	12

  - Support Packages for STEP 7 Safety Advanced V11	12

    - HSP 0030	12

 Siemens AG 2015 All rights reserved

# Support Packages for STEP 7

## Support Packages for

STEP 7 Basic or Professional V11 SP1

At least STEP 7 Basic V11 SP1 or STEP 7 Professional V11 SP1 is required.

### HSP 0003

is necessary for this module:

GPRS-CP for S7-1200

–	6GK7242-7KX30-0XE0

### HSP 0004

is necessary for these modules:

Direct soft starter

–	3RK1304-5KS70-2AA0 V2.0

–	3RK1304-5KS70-2AA3 V2.0

–	3RK1304-5LS70-2AA0 V2.0

–	3RK1304-5LS70-2AA3 V2.0

Direct starter

–	3RK1304-5KS40-2AA0 V1.0

–	3RK1304-5KS40-2AA3 V1.0

–	3RK1304-5KS40-4AA0 V1.0

–	3RK1304-5KS40-4AA3 V1.0

–	3RK1304-5LS40-2AA0 V1.0

–	3RK1304-5LS40-2AA3 V1.0

–	3RK1304-5LS40-4AA0 V1.0

–	3RK1304-5LS40-4AA3 V1.0

Reversing soft starter

–	3RK1304-5KS70-3AA0 V2.0

–	3RK1304-5KS70-3AA3 V2.0

–	3RK1304-5LS70-3AA0 V2.0

–	3RK1304-5LS70-3AA3 V2.0

Reversing starter

–	3RK1304-5KS40-3AA0 V1.0

–	3RK1304-5KS40-3AA3 V1.0

–	3RK1304-5KS40-5AA0 V1.0

–	3RK1304-5KS40-5AA3 V1.0

–	3RK1304-5LS40-3AA0 V1.0

–	3RK1304-5LS40-3AA3 V1.0

–	3RK1304-5LS40-5AA0 V1.0

–	3RK1304-5LS40-5AA3 V1.0

 Siemens AG 2015 All rights reserved

Special modules

–	3RK1304-0HS00-6AA0 V1.0

–	3RK1304-0HS00-7AA0 V1.0

–	3RK1304-0HS00-8AA0 V1.0

### HSP 0017

is necessary for these modules:

ET 200S Motor starter with DPV1

–	3RK1903-0CK00

–	3RK1301-0AB10-0AB4

–	3RK1301-0BB10-0AB4

–	3RK1301-0CB10-0AB4

–	3RK1301-0AB10-1AB4

–	3RK1301-0BB10-1AB4

–	3RK1301-0CB10-1AB4

–	3RK1301-0AB20-0AB4

–	3RK1301-0BB20-0AB4

–	3RK1301-0CB20-0AB4

 Siemens AG 2015 All rights reserved

## Support Packages for

STEP 7 Basic or Professional V11 SP2

At least STEP 7 Basic V11 SP2 or STEP 7 Professional V11 SP2 is required.

### HSP 0015

is necessary for this module:

ASiCM1243-2

–	3RK7243-2AA30-0XB0

### HSP 0021

is necessary for these modules:

M200D direct starter

–	3RK1395-6KS41-0AD0

–	3RK1395-6KS41-0AD3

–	3RK1395-6KS41-0AD5

–	3RK1395-6KS41-2AD0

–	3RK1395-6KS41-2AD3

–	3RK1395-6KS41-2AD5

–	3RK1395-6LS41-0AD0

–	3RK1395-6LS41-0AD3

–	3RK1395-6LS41-0AD5

–	3RK1395-6LS41-2AD0

–	3RK1395-6LS41-2AD3

–	3RK1395-6LS41-2AD5

M200D reversing starter

–	3RK1395-6KS41-1AD0

–	3RK1395-6KS41-1AD3

–	3RK1395-6KS41-1AD5

–	3RK1395-6KS41-3AD0

–	3RK1395-6KS41-3AD3

–	3RK1395-6KS41-3AD5

–	3RK1395-6LS41-1AD0

–	3RK1395-6LS41-1AD3

–	3RK1395-6LS41-1AD5

–	3RK1395-6LS41-3AD0

–	3RK1395-6LS41-3AD3

–	3RK1395-6LS41-3AD5

M200D direct soft starter

–	3RK1395-6KS71-0AD0

–	3RK1395-6KS71-0AD3

–	3RK1395-6KS71-0AD5

 Siemens AG 2015 All rights reserved

–	3RK1395-6KS71-2AD0

–	3RK1395-6KS71-2AD3

–	3RK1395-6KS71-2AD5

–	3RK1395-6LS71-0AD0

–	3RK1395-6LS71-0AD3

–	3RK1395-6LS71-0AD5

–	3RK1395-6LS71-2AD0

–	3RK1395-6LS71-2AD3

–	3RK1395-6LS71-2AD5

M200D reversing soft starter

–	3RK1395-6KS71-1AD0

–	3RK1395-6KS71-1AD3

–	3RK1395-6KS71-1AD5

–	3RK1395-6KS71-3AD0

–	3RK1395-6KS71-3AD3

–	3RK1395-6KS71-3AD5

–	3RK1395-6LS71-1AD0

–	3RK1395-6LS71-1AD3

–	3RK1395-6LS71-1AD5

–	3RK1395-6LS71-3AD0

–	3RK1395-6LS71-3AD3

–	3RK1395-6LS71-3AD5

M200D communication modules

–	3RK1305-0AS01-0AA0

–	3RK1335-0AS01-0AA0

### HSP 0022

is necessary for this module:

SIRIUS I/O-Link Master for ET200S

–	3RK1005-0LB00-0AA0

### HSP 0024

is necessary for these modules:

ET200SP interface module

–	6ES7155-6AU00-0BN0

ET200SP IO module

–	6ES7134-6GD00-0BA1

–	6ES7134-6HD00-0BA1

–	6ES7134-6JD00-0CA1

–	6ES7135-6HD00-0BA1

–	6ES7131-6BH00-0BA0

–	6ES7131-6BF00-0BA0

 Siemens AG 2015 All rights reserved

–	6ES7132-6BH00-0BA0

–	6ES7132-6BD20-0BA0

–	6ES7132-6BF00-0BA0

ET200SP server module

–	6ES7193-6PA00-0AA0

### HSP 0026

For HSP 0026 Update 3 of STEP 7 V11 SP2 is necessary!

Note

HSP 0026 is necessary for these modules: CPU S7-121x (Firmware V3.0)

–	6ES7211-1AE31-0XB0

–	6ES7211-1BE31-0XB0

–	6ES7211-1HE31-0XB0

–	6ES7212-1AE31-0XB0

–	6ES7212-1BE31-0XB0

–	6ES7212-1HE31-0XB0

–	6ES7214-1AG31-0XB0

–	6ES7214-1BG31-0XB0

–	6ES7214-1HG31-0XB0

–	6ES7215-1AG31-0XB0

–	6ES7215-1BG31-0XB0

–	6ES7215-1HG31-0XB0

Signal module analog input

–	6ES7231-5ND30-0XB0

Signal board battery

–	6ES7297-0AX30-0XA0

### HSP 0028

is necessary for these modules:

IM153-4 PN IO and IM153-4 PN IO HF (Firmware V4.0)

–	6ES7153-4BA00-0XB0

–	6ES7153-4AA01-0XB0

### HSP 0029

is necessary for this technology module:

Weighing modul SIWAREX WP231 (Firmware V1.0)

–	7MH4960-2AA01

 Siemens AG 2015 All rights reserved

### HSP 0033

is necessary for these modules:

S7-1200 signal modules SM 12xx (Firmware V2.0)

–	6ES7221-1BF32-0XB0

–	6ES7221-1BH32-0XB0

–	6ES7222-1BF32-0XB0

–	6ES7222-1BH32-0XB0

–	6ES7222-1HF32-0XB0

–	6ES7222-1HH32-0XB0

–	6ES7222-1XF32-0XB0

–	6ES7223-1BH32-0XB0

–	6ES7223-1BL32-0XB0

–	6ES7223-1PH32-0XB0

–	6ES7223-1PL32-0XB0

–	6ES7223-1QH32-0XB0

–	6ES7231-4HD32-0XB0

–	6ES7231-4HF32-0XB0

–	6ES7232-4HB32-0XB0

–	6ES7232-4HD32-0XB0

–	6ES7234-4HE32-0XB0

 Siemens AG 2015 All rights reserved

## Support Packages for STEP 7 Professional V11

At least STEP 7 Professional V11 is required.

### HSP 0009

is necessary for these modules:

CPU31x

–	6ES7312-1AE14-0AB0

–	6ES7314-1AG14-0AB0

–	6ES7315-2AH14-0AB0

–	6ES7315-6FF04-0AB0

### HSP 0011

is necessary for these modules:

CPU31xC

–	6ES7312-5BF04-0AB0

–	6ES7313-5BG04-0AB0

–	6ES7313-6BG04-0AB0

–	6ES7313-6CG04-0AB0

–	6ES7314-6BH04-0AB0

–	6ES7314-6CH04-0AB0

–	6ES7317-2AK14-0AB0

–	6ES7317-6FF04-0AB0

## Support Packages for STEP 7 Professional V11 SP2

### HSP 0025

For HSP 0025 Update 3 of STEP 7 V11 SP2 is necessary!

Note

HSP 0025 is necessary for these modules: CP441 (V2)

–	6ES7441-1AA05-0AE0

–	6ES7441-2AA05-0AE0

 Siemens AG 2015 All rights reserved

# Support Packages for WinCC

## Support Packages for

WinCC Basic/Comfort/Advanced/Professional V11 SP2

#### At least

- WinCC Basic V11 SP2 or

- WinCC Comfort V11 SP2 or

- WinCC Advanced V11 SP2 or

- WinCC Professional V11 SP2

is required.

### HSP 0001 – New overtaken from entry ID 60497002

For HSP 0001 Update 2 of WinCC V11 SP2 is necessary!

Note

HSP 0001 is necessary for these modules:

SIMATIC Comfort Panel

–	KP1500 Comfort (6AV2124-1QC02-0AX0)

–	TP1500 Comfort (6AV2124-0QC02-0AX0)

–	TP1900 Comfort (6AV2124-0UC02-0AX0)

Pay attention to the “Readme”-File and license conditions for HSP 0001!

–	TP2200 Comfort (6AV2124-0XC02-0AX0)

Note

### HSP 0002 – New overtaken from entry ID 60497002

For HSP 0002 Update 2 of WinCC V11 SP2 is necessary!

Note

HSP 0002 is necessary for these modules:

SIMATIC Basic Panel

- KP400 Basic color PN (6AV6647-0AJ11-3AX0)

Pay attention to the “Readme”-File for HSP 0002!

KTP400 Basic color PN (6AV6647-0AK11-3AX0)

Note

 Siemens AG 2015 All rights reserved

# Support Packages for STEP 7 Safety

## Support Packages for STEP 7 Safety Advanced V11

At least STEP 7 Safety Advanced V11 is required.

### HSP 0030

is necessary for these modules:

ET200S Safety-I/Os

–	6ES7138-4FA05-0AB0

–	6ES7138-4FB04-0AB0